BAM-1020 Audit Sheet

Confederated Tribes of the Colville Reservation, CAA 105 Assist ID XA-96081301-0

| Model: | BAM-1020 |  | Serial Number: | E5889 |
| --- | --- | --- | --- | --- |
| Audit Date: |  |  | Audited By: | Kris Ray, Air Quality Program Manager, CTCR |

| Flow Audits |
| --- |
| Flow Reference Standard Used: | Model: | deltaCal | Serial No: | 000604 | Calibration Date: | 1-31-08 |
| Temperature Standard Used: | Model: | Ertco | Serial No: | 9216 | Calibration Date: | 1-31-08 |
| Barometric Pressure Standard Used: | Model: | Merriam | Serial No: | 953100-A1 | Calibration Date: | 1-31-08 |
| Leak Check Value: | as found: | lpm |  |  | as left: | lpm |  |  |  |
|  |  | BAM | Ref. Std. |  |  | BAM | Ref. Std. |  |  |
| Ambient Temperature: | as found: | C | C |  | as left: | C | C | N/A |  |
| Barometric Pressure: | as found: | mmHg | mmHg |  | as left: | mmHg | mmHg |  |  |
| Flow Rate (Actual Volumetric): | as found: | lpm | lpm |  | as left: | lpm | lpm | N/A |  |
| Flow Rate (EPA Standard): | as found: | lpm | lpm |  | as left: | lpm | lpm | N/A |  |

| Mechanical Audits |
| --- |
| Pump muffler unclogged: | as found |  | as left |  | PM10 particle trap clean: | as found |  | as left |  | N/A |  |
| Sample nozzle clean: | as found |  | as left |  | PM10 drip jar empty: | as found |  | as left |  | N/A |  |
| Tape support vane clean: | as found |  | as left |  | PM10 bug screen clear: | as found |  | as left |  | N/A |  |
| Capstan shaft clean: | as found |  | as left |  | PM2.5 particle trap clean: | as found |  | as left |  | N/A |  |
| Rubber pinch rollers clean: | as found |  | as left |  | Inlet tube water-tight seal OK: | as found |  | as left |  |  |  |
| Chassis ground wire installed: | as found |  | as left |  | Inlet tube perpendicular to BAM: | as found |  | as left |  |  |  |

| Analog Voltage Output Audit | N/A |  |
| --- | --- | --- |
| DAC Test Screen | BAM Voltage Output | Logger Voltage Input |
| 0.000 Volts | Volts | Volts |
| 0.500 Volts | Volts | Volts |
| 1.000 Volts | Volts | Volts |

| Membrane Audit |  | Flow Control Range |
| --- | --- | --- |
| LAST m (mg): |  |  | Flow Setpoint | BAM Flow |
| ABS (mg): |  |  | 15.0 LPM |  |
| Difference (mg): |  |  | 16.7 LPM |  |
| % Difference: |  |  | 18.3 LPM |  |

| Setup and Calibration Values |
| --- |
| Parameter | Expected | Found | Parameter | Expected | Found | Parameter | Expected | Found |
| Clock Time/Date | am | am | FLOW TYPE | Actual |  | AP | 150 | 150 |
| RS232 | 9600 | 9600 | Cv | .990 |  | FRl | 10 | 10 |
| STATION # | 01 | 01 | Qo | 0.00 |  | FRh | 20 | 20 |
| RANGE | 1.000 mg | 1.000 mg | ABS | 0.791 |  | Password | 1234 | 123 |
| BAM SAMPLE | 50 min | 50 min |  sw | 0.293 |  | Cycle Mode | Standard | Standard |
| MET SAMPLE | 60 min | 60 min | K Factor | 0.939 |  | RH Control | yes |  |
| OFFSET | 0.015 mg | -0.015 mg | BKGD | -0.0036 |  | RH Setpoint | 35% |  |
| CONC UNITS | μg/m3 | μg/m3 | STD TEMP | 25 C |  | Datalog RH | Yes |  |
| COUNT TIME | 4 min |  | HEATER | Auto |  | Delta-T Control | no |  |
| FLOW RATE | 16.7 |  | e1 | -0.015 mg |  | Delta-T Setpoint | 10C |  |
| CONC TYPE | Actual |  | Errors |  |  | Datalog Delta-T | no |  |

| Last 6 Errors in BAM-1020 Error Log |
| --- |
| Error | Date | Time |  | Error | Date | Time |
| 1 |  |  |  | 4 |  |  |
| 2 |  |  |  | 5 |  |  |
| 3 |  |  |  | 6 |  |  |

Audit Notes: