## Sheet1
Model T200UP
| Date Received: |  |  | CCID # :
| Date of Test: |  |  | Serial # :
Technician:
Inspect for External Shipping Damage:
| Any found? | no
Inspect for Internal Shipping Damage:
| Any found? | no
Order complete?
| List accessories: | Ext Pump Assy with large tubing
NO Gas Challenge - 500 PPB Range - As Found
| Level | As Found
| NO | Indicated | Known | Difference | Tolerance | Pass
| Zero |  | 0 | 0
| 90 ppb |  | 90 | -100% | ± 10%
| 200 ppb |  | 200 | -100% | ± 10%
| 300 ppb |  | 300 | -100% | ± 10%
| 400 ppb |  | 400 | -100% | ± 10%
| NOx | Indicated | Known | Difference | Tolerance | Pass
| Zero |  | 0 | 0
| 90 ppb |  | 90 | -100% | ± 10%
| 200 ppb |  | 200 | -100% | ± 10%
| 300 ppb |  | 300 | -100% | ± 10%
| 400 ppb |  | 400 | -100% | ± 10%
| Internal NO Slope |  | Internal NO Offset |  | Sample Flow
| Internal NOx Slope |  | Internal NOx Offset
NO Gas Challenge - 500 PPB Range - As Left
| Level | As Left
| NO | Indicated | Known | Difference | Tolerance | Pass
| Zero |  | 0 | 0
| 110 ppb |  | 110 | -100% | ± 10%
| 220ppb |  | 220 | -100% | ± 10%
| 320 ppb |  | 320 | -100% | ± 10%
| 420 ppb |  | 420 | -100% | ± 10%
| NOx | Indicated | Known | Difference | Tolerance | Pass
| Zero |  | 0 | 0
| 110 ppb |  | 110 | -100% | ± 10%
| 220 ppb |  | 220 | -100% | ± 10%
| 320 ppb |  | 320 | -100% | ± 10%
| 420 ppb |  | 420 | -100% | ± 10%
| Internal NO Slope |  | Internal NO Offset |  | Sample Flow
| Internal NOx Slope |  | Internal NOx Offset
Analog Output Test 0-1 VDC Range
| Output | VDC | VDC | VDC
| Level | NO | Nox | NO2
Zero
20%
40%
60%
80%
100%