## Sheet1
Model T400
| Date Received: |  |  | CCID # :
| Date of Test: |  |  | Serial # :
Technician:
Inspect for External Shipping Damage:
Any found?
Inspect for Internal Shipping Damage:
Any found?
Order complete?
List accessories:
List options:
Ozone Gas Challenge - 500 PPB Range |  |  |  |  | As Found | As Left
Int Slope
Int Offset
Flow
| Level | Indicated | Known ppb | Difference - Before Adj | Tolerance | Pass
| Zero |  | 0 | 0
| 90 ppb |  | 90 | -100% | ± 5% | Fail
| 200 ppb |  | 200 | -100% | ± 5% | Fail
| 300 ppb |  | 300 | -100% | ± 5% | Fail
| 400 ppb |  | 400 | -100% | ± 5% | Fail
| If Needed |  | Known ppb | Difference - After Adj
| Zero |  | 0 | 0
| 90 ppb |  | 90 | -100% | ± 5% | Fail
| 200 ppb |  | 200 | -100% | ± 5% | Fail
| 300 ppb |  | 300 | -100% | ± 5% | Fail
| 400 ppb |  | 400 | -100% | ± 5% | Fail
Analog Output Test 0-1 VDC Range
| Level | Indicated VDC
Zero
20%
40%
60%
80%
100%