## FlowChecks
Data Log
| YEAR |  | STATION - |  | Kindly enter Station
|  |  | INSTRUMENT - | 2025i
MONTH | Date | Standard's flow | 2025i flow | Percent difference | Comments
1
2
3
4
5
6
7
8
9
10
11
12
Note on B8: Click and go directly to page.
Note on B9: Click and go directly to page.
Note on B10: Click and go directly to page.
Note on B11: Click and go directly to page.
Note on B12: Click and go directly to page.
Note on B13: Click and go directly to page.
Note on B14: Click and go directly to page.
Note on B15: Click and go directly to page.
Note on B16: Click and go directly to page.
Note on B17: Click and go directly to page.
Note on B18: Click and go directly to page.
Note on B19: Click and go directly to page.

## Annual Calibration
2025i Calibration
- STATION
- DATE
- OPERATOR
- 2025i serial number
- deltaCal serial number
- deltaCal certification due
| As Found |  |  |  | As Left
Ambient temperature calibration
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
Barometric pressure calibration
2025i ind pressure mmHg
Standard ind pressure mmHg
Difference (± 10 mmHg)
Filter pressure calibration
2025i filter pressure mmHg
Standard ind pressure mmHg
Difference (± 10 mmHg)
Filter compartment temp calibration
2025i compartment temp °C
Standard ind temp °C
Difference (± 2° C)
Filter temperature calibration
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
External leak (≤ 25 mmHg)
Flow calibration 16.7 lpm
- 2025i ind flow LPM -
- Standard Qa ind flow LPM -
% diff (± 2%) AS LEFT -
Design % diff (± 2%) AS LEFT-
|  | Slope |  | Slope
|  | Intercept |  | Intercept
Comment:

## Init or Post maint calibration
2025i Calibration
- STATION
- DATE
- OPERATOR
- 2025i serial number
- deltaCal serial number
- deltaCal certification due
| As Found |  |  |  | As Left
Ambient temperature calibration
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
Barometric pressure calibration
2025i ind pressure mmHg
Standard ind pressure mmHg
Difference (± 10 mmHg)
Filter pressure calibration
2025i filter pressure mmHg
Standard ind pressure mmHg
Difference (± 10 mmHg)
Filter compartment temp calibration
2025i compartment temp °C
Standard ind temp °C
Difference (± 2° C)
Filter temperature calibration
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
External leak (≤ 25 mmHg)
Flow calibration 16.7 lpm
- 2025i ind flow LPM -
- Standard Qa ind flow LPM -
% diff (± 2%) AS LEFT -
Design % diff (± 2%) AS LEFT-
|  | Slope |  | Slope
|  | Intercept |  | Intercept
Comment:

## Month 1
2025i Verification
- STATION
- DATE
- OPERATOR
- 2025i serial number
- deltaCal serial number
- deltaCal certification due
Ambient temperature verification
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
Filter temperature verification
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
Barometric pressure verification
2025i ind pressure mmHg
Standard ind pressure mmHg
Difference (± 10 mmHg)
External leak (≤ 25 mmHg)
Flow rate verification
2025i ind flow LPM
Standard Qa ind flow LPM
Percent difference (± 4%)
Design percent difference (± 5%)
Internal leak (≤ 140 mmHg)
Comment:

## Month 2
2025i Verification
- STATION
- DATE
- OPERATOR
- 2025i serial number
- deltaCal serial number
- deltaCal certification due
Ambient temperature verification
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
Filter temperature verification
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
Barometric pressure verification
2025i ind pressure mmHg
Standard ind pressure mmHg
Difference (± 10 mmHg)
External leak (≤ 25 mmHg)
Flow rate verification
2025i ind flow LPM
Standard Qa ind flow LPM
Percent difference (± 4%)
Design percent difference (± 5%)
Internal leak (≤ 140 mmHg)
Comment:

## Month 3
2025i Verification
- STATION
- DATE
- OPERATOR
- 2025i serial number
- deltaCal serial number
- deltaCal certification due
Ambient temperature verification
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
Filter temperature verification
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
Barometric pressure verification
2025i ind pressure mmHg
Standard ind pressure mmHg
Difference (± 10 mmHg)
External leak (≤ 25 mmHg)
Flow rate verification
2025i ind flow LPM
Standard Qa ind flow LPM
Percent difference (± 4%)
Design percent difference (± 5%)
Internal leak (≤ 140 mmHg)
Comment:

## Month 4
2025i Verification
- STATION
- DATE
- OPERATOR
- 2025i serial number
- deltaCal serial number
- deltaCal certification due
Ambient temperature verification
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
Filter temperature verification
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
Barometric pressure verification
2025i ind pressure mmHg
Standard ind pressure mmHg
Difference (± 10 mmHg)
External leak (≤ 25 mmHg)
Flow rate verification
2025i ind flow LPM
Standard Qa ind flow LPM
Percent difference (± 4%)
Design percent difference (± 5%)
Internal leak (≤ 140 mmHg)
Comment:

## Month 5
2025i Verification
- STATION
- DATE
- OPERATOR
- 2025i serial number
- deltaCal serial number
- deltaCal certification due
Ambient temperature verification
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
Filter temperature verification
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
Barometric pressure verification
2025i ind pressure mmHg
Standard ind pressure mmHg
Difference (± 10 mmHg)
External leak (≤ 25 mmHg)
Flow rate verification
2025i ind flow LPM
Standard Qa ind flow LPM
Percent difference (± 4%)
Design percent difference (± 5%)
Internal leak (≤ 140 mmHg)
Comment:

## Month 6
2025i Verification
- STATION
- DATE
- OPERATOR
- 2025i serial number
- deltaCal serial number
- deltaCal certification due
Ambient temperature verification
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
Filter temperature verification
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
Barometric pressure verification
2025i ind pressure mmHg
Standard ind pressure mmHg
Difference (± 10 mmHg)
External leak (≤ 25 mmHg)
Flow rate verification
2025i ind flow LPM
Standard Qa ind flow LPM
Percent difference (± 4%)
Design percent difference (± 5%)
Internal leak (≤ 140 mmHg)
Comment:

## Month 7
2025i Verification
- STATION
- DATE
- OPERATOR
- 2025i serial number
- deltaCal serial number
- deltaCal certification due
Ambient temperature verification
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
Filter temperature verification
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
Barometric pressure verification
2025i ind pressure mmHg
Standard ind pressure mmHg
Difference (± 10 mmHg)
External leak (≤ 25 mmHg)
Flow rate verification
2025i ind flow LPM
Standard Qa ind flow LPM
Percent difference (± 4%)
Design percent difference (± 5%)
Internal leak (≤ 140 mmHg)
Comment:

## Month 8
2025i Verification
- STATION
- DATE
- OPERATOR
- 2025i serial number
- deltaCal serial number
- deltaCal certification due
Ambient temperature verification
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
Filter temperature verification
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
Barometric pressure verification
2025i ind pressure mmHg
Standard ind pressure mmHg
Difference (± 10 mmHg)
External leak (≤ 25 mmHg)
Flow rate verification
2025i ind flow LPM
Standard Qa ind flow LPM
Percent difference (± 4%)
Design percent difference (± 5%)
Internal leak (≤ 140 mmHg)
Comment:

## Month 9
2025i Verification
- STATION
- DATE
- OPERATOR
- 2025i serial number
- deltaCal serial number
- deltaCal certification due
Ambient temperature verification
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
Filter temperature verification
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
Barometric pressure verification
2025i ind pressure mmHg
Standard ind pressure mmHg
Difference (± 10 mmHg)
External leak (≤ 25 mmHg)
Flow rate verification
2025i ind flow LPM
Standard Qa ind flow LPM
Percent difference (± 4%)
Design percent difference (± 5%)
Internal leak (≤ 140 mmHg)
Comment:

## Month 10
2025i Verification
- STATION
- DATE
- OPERATOR
- 2025i serial number
- deltaCal serial number
- deltaCal certification due
Ambient temperature verification
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
Filter temperature verification
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
Barometric pressure verification
2025i ind pressure mmHg
Standard ind pressure mmHg
Difference (± 10 mmHg)
External leak (≤ 25 mmHg)
Flow rate verification
2025i ind flow LPM
Standard Qa ind flow LPM
Percent difference (± 4%)
Design percent difference (± 5%)
Internal leak (≤ 140 mmHg)
Comment:

## Month 11
2025i Verification
- STATION
- DATE
- OPERATOR
- 2025i serial number
- deltaCal serial number
- deltaCal certification due
Ambient temperature verification
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
Filter temperature verification
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
Barometric pressure verification
2025i ind pressure mmHg
Standard ind pressure mmHg
Difference (± 10 mmHg)
External leak (≤ 25 mmHg)
Flow rate verification
2025i ind flow LPM
Standard Qa ind flow LPM
Percent difference (± 4%)
Design percent difference (± 5%)
Internal leak (≤ 140 mmHg)
Comment:

## Month 12
2025i Verification
- STATION
- DATE
- OPERATOR
- 2025i serial number
- deltaCal serial number
- deltaCal certification due
Ambient temperature verification
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
Filter temperature verification
2025i ind temp °C
Standard ind temp °C
Difference (± 2° C)
Barometric pressure verification
2025i ind pressure mmHg
Standard ind pressure mmHg
Difference (± 10 mmHg)
External leak (≤ 25 mmHg)
Flow rate verification
2025i ind flow LPM
Standard Qa ind flow LPM
Percent Difference (± 4%)
Design Percent Difference (± 5%)
Internal leak (≤ 140 mmHg)
Comment: