## Annual Calibration
STATION TEMPERATURE CALIBRATION
ANNUAL ZENO STATION TEMPERATURE SENSOR CALIBRATION
SITE -
DATE -
OPERATOR -
ZENO MODEL #
SERIAL # -
TEMPERATURE STANDARD
SERIAL # -
CERTIFICATION DUE DATE
INDICATED TEMPERATURE (Ti °F)
ACTUAL TEMPERATURE (Tf °C)
CONVERTED TEMPERATURE (Ti °F) | 0
ACTUAL VS INDICATED TEMPERATURE °F | 0
MAXIMUM ALLOWABLE DIFFERENCE 3.6 °F | 0