## O3 P&B
Enter results in beige cells and because this is formatted as an excel TABLE, the chart on the next tab will automatically repopulate, as long as measured, audit, and date are filled in the next below row. | [8 empty] | CVub (%) |  | Bias (%)
Meas Val (Y) | Audit Val (X) | date | d (Eqn. 1) | 25th Percentile | d2 | ¦d¦ | ¦d¦2
70 | 75 | 2020-01-01 | -6.6667 | -0.54348 | 44.4444 | 6.6667 | 44.4444
60 | 65 | 2020-01-03 | -7.6923 | 75th Percentile | 59.1716 | 7.6923 | 59.1716 | n | Sd | Sd2 | å¦d¦ | "AB" (Eqn 4)
50 | 55 | 2020-01-06 | -9.0909 | 7.1429 | 82.6446 | 9.0909 | 82.6446 | 20 | 6.7398 | 51.2376 | 112.4235 | 5.6212
45 | 46 | 2020-01-07 | -2.1739 |  | 4.7259 | 2.1739 | 4.7259 | n-1 | åd | åd2 | å¦d¦2 | "AS" (Eqn 5)
30 | 35 | 2020-01-08 | -14.2857 |  | 204.0816 | 14.2857 | 204.0816 | 19 | 32.6044 | 916.2148 | 916.2148 | 3.868
20 | 20 | 2020-01-09 | 0 |  | 0 | 0 | 0
25 | 23 | 2020-01-10 | 8.6957 |  | 75.6144 | 8.6957 | 75.6144 |  |  |  | Bias (%) (Eqn 3) | Both Signs Positive
30 | 28 | 2020-01-11 | 7.1429 |  | 51.0204 | 7.1429 | 51.0204 |  |  |  | 7.12 | FALSE
25 | 25 | 2020-01-12 | 0 |  | 0 | 0 | 0 |  | CV (%) (Eqn 2) |  | Signed Bias (%) | Both Signs Negative
50 | 45 | 2020-01-13 | 11.1111 |  | 123.4568 | 11.1111 | 123.4568 |  | 8.61 |  | +/-7.12 | FALSE
60 | 55 | 2020-01-14 | 9.0909 |  | 82.6446 | 9.0909 | 82.6446
70 | 65 | 2020-01-15 | 7.6923 |  | 59.1716 | 7.6923 | 59.1716 |  | Upper Probability Limit |  | Lower Probability Limit
75 | 70 | 2020-01-16 | 7.1429 |  | 51.0204 | 7.1429 | 51.0204 |  | 14.84 |  | -11.58
80 | 78 | 2020-01-20 | 2.5641 |  | 6.5746 | 2.5641 | 6.5746
50 | 48 | 2020-01-24 | 4.1667 |  | 17.3611 | 4.1667 | 17.3611
50 | 49 | 2020-01-25 | 2.0408 |  | 4.1649 | 2.0408 | 4.1649
55 | 53 | 2020-01-26 | 3.7736 |  | 14.2399 | 3.7736 | 14.2399
60 | 57 | 2020-01-27 | 5.2632 |  | 27.7008 | 5.2632 | 27.7008
40 | 39 | 2020-01-28 | 2.5641 |  | 6.5746 | 2.5641 | 6.5746
80 | 79 | 2020-01-29 | 1.2658 |  | 1.6023 | 1.2658 | 1.6023

## ConfidenceIntervals
95% confidence intervals for any statistic can be estimated easily, provided that the same number of repeated flow or concentrations checks were conducted at each site,
AND the same type of checks were used at each site/instrument.
For example, the gaseous pollutants such as SO2, NO2, NO, CO, and O3 are measured with continuous instruments
using span gas of a known concentration injected into the instrument. You compare the reading of the instrument with the span gas concentration.
These are usually performed at least once every two weeks.
The particulate matter pollutants are measured with instruments for which the flow rate is the critical factor--and also, there are no
standards for PM2.5 and PM10 such as there are for the gaseous pollutants. Because of this, the flow checks serve as the
precision check for the particulate matter measurements.
Two examples are shown below.
Example 1: When monitoring PM10 the SLAMS reqmnt is that the precision be less than + 15% with a 95% confidence interval.
(1) calculate the relative percent differences for each pair.
(2) calculate the sample standard deviation (called s) of the percent differences.
(3) calculate the average percent differences during the time period you are interested in.
(4) the lower end of the 95% confidence interval is given by that value minus twice the s,
and the upper end of the 95% confidence interval is given by that value plus twice the s. This is shown below.
(In this case the value of 1.96 is rounded to 2. Note that in some circumstances, such as when you do not have many measurements,
you should look up the student's t-statistic to use instead of the value of 1.96. This is done for you in example 2.)
field flow results: |  | audit flow results: |  | (field-audit)/audit:
| 16.3 |  | 16.8 |  | -0.029762
| 16.9 |  | 16.1 |  | 0.049689
| 15.9 |  | 16.3 |  | -0.02454
| 17.1 |  | 16.7 |  | 0.023952
| 17 |  | 16.2 |  | 0.049383
| 16.6 |  | 17 |  | -0.023529
with a sample standard deviation of:
mean: | 16.6333 |  | 16.5167 |  | 0.0075322 |  |  | stdev = | 0.037901
|  | so the estimate for precision is |  |  | 0.0075322 | with a 95% CI from |  | -0.068271 | to | 0.083335
in the case of a negative value for the estimate or the lower bound, common sense
should be used to decide whether this should just be called zero.
Example 2: If you are estimating an average of something, and you have many measurements of that something, you can calculate a range
so that, 95% of the time, if you kept on making measurements forever, the average would be in the middle of that range.
Assume that the following are your results:
12
14
15
12
15
15
18
19
15
22
21
18
|  | total number= | 12 | t-statistic is= | 2.5931
|  | stnddev= | 3.2567 |  | 95% probability limit for the mean = |  |  |  | 24.7782 | to | 7.8884
|  | mean= | 16.3333 | [5 empty] | high end |  | low end
Note on F63: Excel calculates this using the "degrees of freedom," which is one less than the number of measurements.

## ZeroDriftChart
Zero Drift Chart
| date | value for zero air | drift
| 2020-01-01 | -2
| 2020-01-03 | -1 | 1
| 2020-01-06 | 0 | 1
| 2020-01-07 | 2 | 2
| 2020-01-08 | 2 | 0
| 2020-01-09 | -2 | -4
| 2020-01-10 | 2 | 4
| 2020-01-11 | -1 | -3
| 2020-01-12 | 0 | 1
| 2020-01-13 | -1 | -1
| 2020-01-14 | -2 | -1
| 2020-01-15 | -1 | 1
| 2020-01-16 | 0 | 1
| 2020-01-18 | 4 | 4

## CalculateAvgs
Calculating Summary Statistics for Certain Time Periods
How to calculate summary statistics for a period of time between and including two dates (or times), to calculate statistics for a week, month, quarter, half-day, etc.
First copy your data into columns A and B, with the dates in column A in any date (or date-time) format, and copy the corresponding data into column B.
(Click on the cell in row 10, and just copy over this example data.)
Next enter the starting date for the period of time in the blue cell H10, and the ending date in the blue cell H11.
(The values will include these dates, so to calculate the average for the month of September, enter 09/01/02 in cell H10 and 09/31/02 in cell H11.)
date | value
2002-09-01 | 100 | Summary Statistics for the data between |  |  | START DATE: | 2002-09-01 | (Column H is formatted to show 2 digits after the decimal place--to change
2002-09-02 | na |  |  |  | END DATE: | 2002-10-01 | this select the column by clicking on the H header, then select
2002-09-03 | 8 |  | these cells contain the calculations; the cells in column H contain these values but have an "iserror" code in case you have no data within the dates you specified (excel would give an error code in this case) | 14.1952 | Average= | 14.1952 | Format, Cells, Number, and enter 2 decimal places in the dialog box.)
2002-08-15 | 100 |  |  | 25.2818 | Sample Standard Deviation= | 25.2818
2002-08-15 | 33 |  |  | 1.781 | Coefficient of variation= | 1.781 | To see the equations used for each of these statistics,
2002-09-06 | 6 |  |  | 1 | Lowest value= | 1 | click on the cell and the formula is shown in the formula bar above.
2002-09-07 | 7 |  |  | 100 | Highest value= | 100 | Note that these formulas search the entire column B for values
2002-09-08 | 6 |  |  | 91.9 | 99th percentile= | 91.9 | corresponding to any within the beginning date and ending date.
2002-09-09 | 3 |  |  | 83.8 | 98th percentile= | 83.8
2002-09-10 | 1
2002-09-11 | 4 | [5 empty] | DO NOT insert any values into columns A or B other than your data,
2002-09-12 | 8 | [5 empty] | because these formulas search the entire column.
2002-09-13 | 4.2879 | [5 empty] | You can change the formulas to search for dates within specific ranges if you
2002-09-14 | 55 | [5 empty] | prefer.
2002-09-15 | 3.9662
2002-09-16 | 44 | [5 empty] | Note that the data do not have to be in order, as excel searches
2002-09-17 | 3.6445 | [5 empty] | for all data within the beginning and end dates.
2002-09-18 | 3.4837
2002-09-19 | 3.3228 | [5 empty] | Also, IF THERE ARE GAPS IN THE DATA COPY THE TERM na into that cell or excel will treat it as a zero value, as the example shows.
2002-09-20 | 3.162 | [5 empty] | or excel will treat it as a zero value, as the example shows.
2002-09-21 | 3.0012
2002-09-22 | 2.8403 | [5 empty] | If you change the hidden array formulas in column F, you have to re-insert the equals sign,
2002-10-03 | -2 | [5 empty] | and then press ctrl-shift-enter at the end of the formula so that excel
2002-10-10 | 16 | [5 empty] | treats the equation as an array.
2002-10-17 | 5
2002-10-24 | 6
2002-10-31 | 7
2002-11-07 | 8
2002-11-14 | 5
2002-11-21 | 6
2002-11-28 | 5
2002-12-05 | 6
2002-12-12 | 5
2002-12-19 | 6
2002-12-26 | 5
2003-01-02 | 6
2003-01-09 | 5
2003-01-16 | 6
2003-01-23 | 7
2003-01-30 | 8
2003-02-06 | 9
2003-02-13 | 10
2003-02-20 | 11
2003-02-27 | 12
2003-03-06 | 13
2003-03-13 | 14
2003-03-20 | 15
2003-03-27 | 16
2003-04-03 | 17
2003-04-10 | 18
2003-04-17 | 19
2003-04-24 | 20
2003-05-01 | 21
2003-05-08 | 22
2003-05-15 | 23
2003-05-22 | 24
2003-05-29 | 25
2003-06-05 | 26
2003-06-12 | 27
2003-06-19 | 28
2003-06-26 | 29
2003-07-03 | 30
2003-07-10 | 31
2003-07-17 | 32
2003-07-24 | 33
2003-07-31 | 34
2003-08-07 | 35
2003-08-14 | 36